Lab # 6

Water Chemistry

In this lab, we will learn how to use colorimetry for the analysis of water samples using the Hach spectrophotometer and a digital titrator. These pieces of equipment are relatively cheap, easy to use, and portable, so are commonly used in the industry. They all come with a full set of “step by step” instructions, and almost require no prior knowledge of chemistry! The other advantage is that, unlike the ICP-AES, they can be used to determine the concentrations of various anions in solution. You are provided with two surface water samples (SSC-16 from the Ohio river, and Beech Fork Lake). Both samples are provided in two forms: (a) filtered but not acidified; and (b) filtered but not acidified, and diluted 1:1 with distilled water. Using the pH meter, digital titrator, the Hach Spectrophotometer, and the Hach procedure manuals, you are requested to find:

- The pH of this sample using the pH-meter (after calibrating it, if necessary).

- The TDS of the sample by measuring its conductivity.

- The sulfate concentration in mg/l (using the spectrophotometer). You need to calibrate the spectrophotometer first using the solutions provided, and then determine the concentrations using the calibration technique, as well as the built in technique (technique # 680). Both techniques use the SulfaVer-4 method.

- The chloride concentration using the digital titrator (silver nitrate method).

- The hydroxide, carbonate, and bicarbonate alkalinity values using the digital titrator.

- The total Hardness of the sample using the digital titrator.

- The Ca, Mg, Na, and K concentrations using the ICP-AES after calibrating it.

- Plot all your results on a Piper diagram (after expressing your concentrations in meq/l; see attached).

- Based on your plot above, what is the type of this water? What is its hydrochemical facies?

N.B. You can download the program: GW_chart from the USGS website for free and use it to plot your data. You will however need to input a value for your TDS as well as all other parameters. The program can be downloaded from:

http://water.usgs.gov/nrp/gwsoftware/GW_Chart/GW_Chart.html

Water Analysis: Some definitions

Reading assignment: Pages 13, 45-50; 289 in Drever, J. I., 1997. The geochemistry of natural waters. Prentice Hall.

Water is seldom pure: it is a good solvent, containing many solutes

Expressing concentrations of solutes:

- mg/L

- ppm: same as mg/L if the solvent is pure water with density of 1.

# Molarity

- Molality

- gm equivalent weight.

- Normality: Is the number of gm equivalents of compound/ ions/ radicals per liter of solution. Note that the sum of normalities of +ve ions = that of –ve ions.

- Non-ionic dissolved species such as silica cannot be expressed in meq/L.

- Activity vs. concentration

TDS:

Fresh: < 1000 ppm; Slightly saline: 1000 – 3000 ppm; Moderately saline: 3000 – 10000 ppm; Very saline: 10,000 – 35,000 ppm; Brine: > 35,000 ppm

Drinking water: < 500 ppm; potable up to 2000 ppm; Sea water: 35,000 ppm; Groundwater: 100 – 300,000 ppm.

Conductivity:

- Conductance is the reciprocal of resistance.

- Conductance is expressed in “Seimens” (formerly known as “mho”).

- Conductivity is the “specific conductance” (measured between 2 opposite faces of a 1 cm cube of material).

- Conductivty ((S/cm) = 1/ resistivity (ohms – cm).

- Conductivity is an indirect measure of the TDS. Relationship is given by:

ppm TDS = conductivity ((S/cm). 0.66

Hardness:

Definition: Hardness is the total # of mg/L of “equivalent CaCO3”. The term “equivalent CaCO3” = 100/40 Ca2+ + 100/24 Mg2+ expressed in mg/L.

In other words, hardness is the mgm equivalents of Ca2+ + Mg2+ per liter of solution “assuming that the solution contains only CaCO3”. To understand how this formula was derived, we can express hardness as:

(# of equivalents of Ca2+ + Mg2+) . gm equivalents of CaCO3

i.e.

[{(mg/L Ca2+/40) . 2} + {(mg/L Mg2+/24) . 2}] . 100/2

Water types according to hardness:

- 0-60: soft

- 61-120: moderately hard

- 121 – 180: hard

- >180: very hard.

Charge balance, Cation / anion ratio and charge balance error (Table 1b)

- Any solution has to be electrically neutral. This means that the concentration of anions has to be balanced by (i.e. equal to) that of the cations.

- Charge balance: be careful when expressing the concentrations of multivalent ions!!!!

- Cation/anion ratio should be very close to 1.

- Charge balance error should be < 5%.

Alkalinity

Alkalinity is the equivalent sum of bases that are titratable with a strong acid. Although all solutions are electrically neutral, the concentration of the strong bases is not necessarily equal to that of strong acids. This is simply because there are many ionic species in solution, and strong bases can be “balanced” by weak acids. Alkalinity is the difference between the concentration of strong basic and acidic radicals. However, note that ions like Na+, Ca+2, K+, Cl-, ... etc. are considered "conservative" ions as their concentrations are not affected by pH, P, or T. Therefore, another way of defining alkalinity is:

Alkalinity =  conservative cations -  conservative anions

If Na+ and Cl- are the only strong basic and acidic ions in solution, then alkalinity is defined as:

Alkalinity = [Na+] – [Cl-].

Applying charge balance constraints and rearranging:

Alkalinity = [HCO3-] + 2[CO3-2] + [H3SiO4-] + [HS-] + .... +[OH-] – [H+]

In most natural waters, alkalinity = [HCO3-] + 2[CO3-2], since all other species occur in very low concentrations. This is known as "carbonate alkalinity".

Acidity:

Is the amount of base required to raise the pH of the solution to the bicarbonate end-point.

Acidity = - alkalinity.

III- Chemical constituents of water

- Major constituents: 7 constituents comprising > 99% of the TDS. Their concentrations exceed 5 mg/L.

- Minor constituents: 0.01 – 10 mg/L

- Trace constituents: < 0.1 mg/L.

- Quality standards for ground water and drinking water (Table 4).

- Calculation of the concentrations of the different species in solution: General methods and some shortcuts ( pC vs. pH (Bjerrum) plot (see details below).

IV- Graphical representation of water chemistry

- Piper diagrams (see attached figure): meq/L, normalized! Always a good idea to double check results with a CBE calculation.

Total Hardness

EDTA

Hardness 1 buffer

ManVer pillow

Alkalinity:

1.6 M H2SO4

Phenolphthalein indicator powder pillows

8.3 Buffer powder pillow

Bromcresol Green - Methyl Red indicator

Bromophenol Blue Powder pillow

Sulfate (spectrophotometer):

SulfaVer 4 reagent

Chloride

Silver nitrate

Chloride 2 indicator